Fixture Checklist

| Job Name: |  |  | Job No.: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Foreman: |  |  | Date: |  |  |  |
| Complete: | Yes No |  |  |  |  |  |

□  Check for ADA Requirements

□  Flush Valve Heights

□  Backflow Preventers Certified – With Laminated Copy of Certification Hung on Device

□  Toilet Seats On

□  China Caps

□  Lavatory Faucet Handles Adjusted

□  Aerators Cleaned

□  All Fixtures Tested – No Leaks

□  All Floor Mount Fixtures Grouted/Wall Hung Caulked

□  Wall Cleanouts On

□  Water Samples

□  Left Over Items Returned

□  Trash Picked Up

□  Valve Chart Posted on Job

□  Approved Plans on Job

□  Exterior Cleanouts Installed

□  Water Entry Insulated

□  Water Heater Piping Insulated

□  Protect Installed Equipment- Tubs- Fixtures As Necessary

REMEMBER:		NO CALL BACKS		NO RED TAGS

| Items NOT Completed: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Field Superintendent Signature: |  |  |  | Date: |  |
| Project Manager Signature: |  |  |  | Date: |  |

RETURN THIS FORM TO OFFICE