Ground Work Checklist

| Job Name: |  |  | Job No.: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Foreman: |  |  | Date: |  |  |  |
| Complete: | Yes No |  |  |  |  |  |

Check for ADA Requirements

□	Asbuilts

□	All risers Capped

□	All risers Staked

□	Spot Backfilled

□	Floor Drains Set

□	Allow For Tile @ Floor Drain

□	Trap Primers

□	Finish Floor Cleanouts Set

□	Pull Tape Before Backfill

□	Pull Tape after Backfill

□	Return Scrap to Shop

□	Return Left Over Material for Credit

□	Sleeves on @ (Vert. W.C. Carriers, Mop Sinks, Etc.)

□	Tub Boxes Installed

□	Approved Plans on Job

□	Sleeving or Insulation on Pipe at Slab Penetrations

□	Make Material List for Second R.I.

□	Check Pitch on All Pipes

□	Note Any Changes on Drawings (Turn in Drawings & Job Book)

REMEMBER:	NO CALL BACKS		NO RED TAGS

| Items NOT Completed: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Field Superintendent Signature: |  |  |  | Date: |  |
| Project Manager Signature: |  |  |  | Date: |  |

RETURN THIS FORM TO OFFICE