Top Out Checklist

| Job Name: |  |  | Job No.: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Foreman: |  |  | Date: |  |  |  |
| Complete: | Yes No |  |  |  |  |  |

Test All Systems:

□   Asbuilts

□   Waste-Vents

□   Water Piping

□   Gas Piping

□   Roof Drain Piping

□   Med Gas Piping

□   Piping Strapped Properly (Drop Ear Ells @ Shower Heads, Mop Sink Faucets Et.)

□   Riser Clamps Installed

□   Fire Proofing @ Sleeves

□   Roof Drain Flashings

□   Nail Plates On (6” Plates)

□   Backing Installed

□   Pipe Markers

□   Valve Tags

□   Test Tees Parallel to Wall

□   Cleanout Tees Looking Out

□   Floor Flanges Installed & Secured

□   Hangers Sized Properly for Insulation

□   Lavatory Carrier Arms Installed and Wrapped

□   Urinal Carrier Studs Wrapped

□   Water Closet Carrier Bolts Wrapped

□   Water Closet Carrier Nipple Correct Length

□   Check Flush Valve Height and 4 ¾” from Center on all Water Closets

□   Check Flush Valve Handle Location on Handicap Water Closet

□   Check Fixtures for ADA Height and Distance from Walls

□   IMB’s, Coffee Makers, Etc. (Roughed – In)

□   Low Pressure Gauge on Gas

□   All Scrap Accumulated in (1) Location

□   All Surplus Material sent Back for Credit

□   Location of Carrier Trim Packages

□   Location of Wall Cleanout Covers

□   Trash Picked Up

□   Police Project ONE More Time

□   Give Insulator (3) Days Notice

□   Who Furnishes Insulation Saddles *Need on Job

□   Approved Plans on Job

□   Make Material List for Trim and Verify Fixture Counts

□   Note Any Changes on Drawings – Turn in Drawings & Job Book

□   Protect Installed Equipment-Tubs- Fixures

□   Water on Hot and Cold Piping (add jumper if required)

Check for ADA Requirements

REMEMBER:	NO CALL BACKS		NO RED TAGS

| Items NOT Completed: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Field Superintendent Signature: |  |  |  | Date: |  |
| Project Manager Signature: |  |  |  | Date: |  |

RETURN THIS FORM TO OFFICE