Apprentice Tool Requirements

First Year Apprentice

- Dry Wall Saw

- Grade Level-12”

- Hack Saw

- Hammer, 2lb.

- No Hub Tork Wrench

- Mini Cutters

- Screw Drivers – Flat, Phillips, and Vandal (Vandal optional)

- Sponge

- Tape Measure - 25' minimum

- Torpedo Level

- Utility Knife

- Work Gloves

- 1/2” Hammer or Regular Drill – w/ bits (optional)

- 12" Spud Wrench

- 24" Level

- 3/8" OD Tubing Bender

- Adjustable Pliers

- Adjustable/Crescent Wrench - 12"

- Adjustable/Crescent Wrench–8”

- Aviation/Tin Snips

- Center Punch

- Channel Lock

- Claw Hammer

- Cold Chisel

- Copper Tubing Cutters –1/4”- 2"

Second Year Apprentice

(Add Tools Below)

- 1/2” Round Bastard File

- Allen Key Set

- B Tank and Torch Outfit with Tips

- Basin Wrench

- Inside PVC Pipe Cutter

- Masonary Bit Set

- Nut Driver Set

- Plastic Tube Cutter

- Rags

- Steel Bit Set

- Striker

Third Year Apprentice

(Add Tools Below)

- 100 Feet of Cord

- Chalk Box

- Plumb Bob

- Plumber Hole Saw Kit

- Sawzall

- Square

Fourth Year Apprentice

(Add Tools Below)

- Flaring Tool

- Open End Wrenches

- Pipe Wrenches 12”-18”-24”

- P.O. Plug Wrench

- Strap Wrench

- Wood Bits - Up to 3”

Tool requirements by Apprentice must be fulfilled by completion of stated year.